## Plant
Month:- | 2024-04-30 | Solar Plants _Daily Generation Report | [78 empty] | Month:- | 2024-04-30
Date:- | 2024-04-15 | [79 empty] | Date:- | 2024-04-15
Plant | Plant Code | Location | Capacity (MW AC) | Irradiation (KWh/sq. meter) | [5 empty] | Gen gain/ loss due to irradiation (MWh) |  |  | CUF (%) gain/ loss due to irradiation |  |  | Net Export (MWh) | [8 empty] | CUF (%) | [8 empty] | PR (%) | [5 empty] | Plant Availability (%) |  |  | Gen loss due to plant Availability (MWh) |  |  | CUF (%) loss due to plant Availability |  |  | Grid Availability (%) |  |  | Gen loss due to grid tripping (MWh) |  |  | CUF (%) loss due to grid tripping |  |  | Gen loss due to grid reactive power control (MWh) |  |  | CUF (%) loss due to grid reactive power control |  |  | Gen loss due to grid curtailment (MWh) |  |  | CUF (%) loss due to grid curtailment |  |  | Gen loss due to Hybrid Clipping (MWh) |  |  | CUF (%) loss due to Hybrid Clipping |  |  | Unit Tariff Rate | Absolute Operational Revenue ( Cr.)
|  |  |  | Daily |  | MTD |  | YTD |  | Daily | MTD | YTD | Daily | MTD | YTD | Daily |  |  | MTD |  |  | YTD |  |  | Daily |  |  | MTD |  |  | YTD |  |  | Daily |  | MTD |  | YTD |  | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD | Daily | MTD | YTD |  | Daily |  | MTD |  | YTD
|  |  |  | Budget | Actual | Budget | Actual | Budget | Actual |  | MTD | YTD |  | MTD | YTD | Budget | Weather Corrected | Actual | Budget | Weather Corrected | Actual | Budget | Weather Corrected | Actual | Budget | Weather Corrected | Actual | Budget | Weather Corrected | Actual | Budget | Weather Corrected | Actual | Budget | Actual | Budget | Actual | Budget | Actual | [37 empty] | Budget | Actual | Budget | Actual | Budget | Actual
Hybrid-2A | 6222 | Rajasthan | 300 | 8.9467 | 4.66 | 134.2 | 106.16 | 134.2 | 106.16 | -1425.0349 | -9321.4189 | -9321.4189 | -19.79% | -8.631% | -8.631% | 2974.4993 | 1550.312 | 1730.39 | 44617.4899 | 35569.5574 | 36019.57 | 44617.4899 | 35569.5574 | 36019.57 | 41.31% | 21.53% | 24.03% | 41.31% | 32.93% | 33.35% | 41.31% | 32.93% | 33.35% | 79.16% | 88.42% | 79.16% | 80.79% | 79.16% | 80.79% | 100 | 99.9553 | 99.9553 | -3.4608 | -54.6658 | -54.6658 | -0.04807% | -0.05062% | -0.05062% | 100 | 100 | 100 | -8.652 | -180.0978 | -180.0978 | -0.1202% | -0.1668% | -0.1668% | 0 | -1009.9166 | -1009.9166 | 0% | -0.9351% | -0.9351% | 0 | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0% | 0% | 0% | 2.69 | 0.80014 | 0.46547 | 12.0021 | 9.6893 | 12.0021 | 9.6893